## Offer (hidden)
[10 empty] | AHU Size | [6 empty] | Supply |  | Installation |  | Ducting |  |  | Insulation |  | Filtration Stages Sft | [5 empty] | Dampers
S.No. | AHU No | Class | AC | VENT | CFM | Motor Hp | TR Load | Blower | Coil Rows | Length | Width | Height | Filtration Stages | Filtration length | Units | Qty | Rate | Amount | Rate | Amount | 24 G | 22G | 20G | 9 mm | 13 mm | 20 m 100 | 20 m 150 | 10 m 150 | 5 m 300 | 1 m 300 | 0.3 m 300 95% | Al. Prof. | Fire
| 1 | 100000 |  |  | 5800
| 2 | 10000
| 3 | 1000
| 4 | 5
| 5 | 20
| 6 | 10000
| 7 | 10000
| 8 | 100000
| 9 | 1000
| 10 | 5
| 11 | 5
| 12 | 20
| 13 | 1000
| 14 | 1000
| 15 | 100000
| 16 | 5
| 17 | 20
| 18 | 20
| 19 | 20
20

## Macro1 (hidden)
F | C
41 | 76
105.8 | 24.4444

## BOD
S. No. | AHU No | Room Name | Length in Mtrs | width in mtrs | Height in Ft | Area in Sq. Mtrs | Volume in Cft | No. of Air Ch. | Room CFM | Occupancy | Eqpt. Load in KW | Fresh Air Cfm | Exhaust Air Cfm | Deh. CFM | Resultant CFM | Room AC Load in TR | CFm AC Load in TR | Res. AC load in TR | Ch. Water In Gal/m | Ch. Water In L/s | Act. Pipe in Inch | Des. Pipe in Inch | Class in K / NC 20/5 | In Temp in C (+/-2) | RH in % +/- 5 | Out. Temp. in F | Inside Temp. in F | [25 empty] | Supply System |  |  |  | Exhaust System |  |  |  | Power cons. in KW/hr
[28 empty] | Walls | Partition | Floor | Roof | Lighting load | Eqpt. Load | People | Fresh Air | RSH | ERSH | People | Fresh Air | ERLH | ERTH | Outside Air Temp Diff. | Grains | Grand Total Heat | AC Load | ADP | Deh. CFM | Final Filtration | NC 20 / 5 Micron | Plenum HEPA | Terminal Hepa 100K/10K | Terminal Hepa 1K/100 | AHU CFM | Static Pressure | Blower Model | Motor rating in Hp | AHU CFM | Static Pressure | Blower Model | Motor Hp
[26 empty] | 41.1111 | 24.4444
| 1 | CLEAN ROOM - I Grade - D ( Class 100K)
1 | AC - AHU - 001 | Change Room | 3 | 2.4 | 9.186 | 7.2 | 711.6578 | 40 | 474.4385 | 0 | 0 | 47.4439 | 0 | 5.1988 | 521.8824 | 0.362 | 1.3047 | 115 | 276 | 17.4129 | 4.3194 | 4.5 | 100K | 24 | 55 | 106 | 76 | 12809.8403 | 8966.8882 | 929.664 | 929.664 | 135.576 | 0 | 0 | 184.4617 | 320.0377 | 320.0377 | 0 | 116.1426 | 116.1426 | 436.1803 | 1352.7191 | 2555.1361 | 4344.0355 | 0.362 | 49 | 5.1988 | 100000 | 0 | 4 | 0 | 0 | 23550 | 150 |  | 40 | 575 | 75 |  | 1 | 122.75 | 62.6864
2 |  | Crystalizer Area 1 ( GF) | 9.53 | 7.8 | 13.12 | 74.334 | 10493.82 | 30 | 5246.91 | 2 | 12 | 524.691 | 0 | 9791.4507 | 10770.5958 | 53.9745 | 26.9265 | [6 empty] | 24 | 55 | 106 | 76 | 58715.9255 | 41101.1479 | 9598.0061 | 9598.0061 | 1399.7092 | 598752 | 570 | 2039.9986 | 602761.7078 | 602761.7078 | 430 | 1284.4436 | 1714.4436 | 604476.1514 | 14959.9898 | 28257.7584 | 647693.8996 | 53.9745 | 49 | 9791.4507 | 100000 | 0 | 44 | 0 | 0
2 |  | Crystalizer Area 1 ( GF) | 2.4 | 1.9 | 13.12 | 4.56 | 643.7407 | 30 | 321.8703 | 1 | 3 | 32.187 | 0 | 2439.6363 | 2683.5999 | 12.7607 | 6.709 | [6 empty] | 24 | 55 | 106 | 76 | 14568.8678 | 10198.2075 | 588.7872 | 588.7872 | 85.8648 | 149688 | 285 | 125.1432 | 150184.008 | 150184.008 | 215 | 78.7939 | 293.7939 | 150477.8018 | 917.7167 | 1733.4649 | 153128.9834 | 12.7607 | 49 | 2439.6363 | 100000 | 0 | 12 | 0 | 0
3 |  | Crystalizer Area 1 ( FF) | 4.5 | 4.3 | 11.483 | 19.35 | 2390.8295 | 30 | 1195.4147 | 1 | 3 | 119.5415 | 0 | 2449.6774 | 2694.6451 | 13.4297 | 6.7366 | [6 empty] | 24 | 55 | 106 | 76 | 26095.2553 | 18266.6787 | 2498.472 | 2498.472 | 364.3605 | 149688 | 285 | 464.7773 | 150802.1378 | 150802.1378 | 215 | 292.6375 | 507.6375 | 151309.7753 | 3408.3665 | 6438.0257 | 161156.1675 | 13.4297 | 49 | 2449.6774 | 100000 | 0 | 12 | 0 | 0
3 |  | Crystalizer Area 1 ( FF) | 6.555 | 3.23 | 6.89 | 21.1726 | 1569.664 | 30 | 784.832 | 1 | 3 | 78.4832 | 0 | 2447.6417 | 2692.4059 | 13.129 | 6.731 | [6 empty] | 24 | 55 | 106 | 76 | 17410.1922 | 12187.1345 | 2733.8126 | 2733.8126 | 398.681 | 149688 | 285 | 305.1427 | 150676.8237 | 150676.8237 | 215 | 192.1269 | 407.1269 | 151083.9506 | 2237.7131 | 4226.7914 | 157548.455 | 13.129 | 49 | 2447.6417 | 100000 | 0 | 12 | 0 | 0
3 |  | Crystalizer Area 1 ( FF) | 4.5 | 2.225 | 6.89 | 10.0125 | 742.2907 | 30 | 371.1454 | 1 | 4 | 37.1145 | 0 | 3252.1416 | 3577.3558 | 16.9637 | 8.9434 | [6 empty] | 24 | 55 | 106 | 76 | 11965.615 | 8375.9305 | 1292.814 | 1292.814 | 188.5354 | 199584 | 285 | 144.3013 | 200201.8367 | 200201.8367 | 215 | 90.8564 | 305.8564 | 200507.6931 | 1058.2096 | 1998.8404 | 203564.7431 | 16.9637 | 49 | 3252.1416 | 100000 | 0 | 16 | 0 | 0
4 |  | Dedusting | 2.4 | 2 | 9.186 | 4.8 | 474.4385 | 30 | 237.2193 | 0 | 0 | 23.7219 | 237.2193 | 17.9487 | 260.9412 | 1.9364 | 0.65235 | [6 empty] | 24 | 55 | 106 | 76 | 10437.6476 | 7306.3533 | 619.776 | 619.776 | 90.384 | 0 | 0 | 1014.5393 | 1104.9233 | 1104.9233 | 0 | 638.784 | 638.784 | 1743.7074 | 7439.9552 | 14053.2488 | 23236.9114 | 1.9364 | 49 | 17.9487 | 100000 | 0 | 2 | 0 | 0
5 |  | Wash Room | 2.4 | 2.3 | 9.186 | 5.52 | 545.6043 | 30 | 272.8022 | 0 | 0 | 27.2802 | 272.8022 | 20.641 | 300.0824 | 2.2269 | 0.75021 | [6 empty] | 24 | NC | 106 | 76 | 11149.3054 | 7804.5138 | 712.7424 | 712.7424 | 103.9416 | 0 | 0 | 1166.7203 | 1270.6619 | 1270.6619 | 0 | 734.6016 | 734.6016 | 2005.2635 | 8555.9485 | 16161.2361 | 26722.4481 | 2.2269 | 49 | 20.641 | 100000 | 0 | 2 | 0 | 0
[6 empty] | 146.9492 | 17572.0455 |  | 8904.6324 | 6 | 25 | 890.4632 | 510.0214 | 20424.3362 | 23501.5084 | 114.783 | 58.7538
| 2 | CLEAN ROOM - I Grade - D ( Class 100K)
6 | AC - AHU - 002 | Change Room | 2.4 | 3.17 | 9.186 | 7.608 | 751.9851 | 30 | 375.9925 | 0 | 0 | 37.5993 | 0 | 4.7018 | 413.5918 | 0.28987 | 1.034 | 97.5 | 234 | 14.7631 | 3.9772 | 4 | 100K | 24 | 55 | 106 | 76 | 13213.113 | 9249.1791 | 982.345 | 982.345 | 143.2586 | 0 | 0 | 146.1859 | 289.4445 | 289.4445 | 0 | 92.043 | 92.043 | 381.4875 | 1072.0299 | 2024.9454 | 3478.4628 | 0.28987 | 49 | 4.7018 | 100000 | 0 | 2 | 0 | 0 | 19850 | 150 |  | 25 | 575 | 75 |  | 1 | 97.5 | 53.1472
7 |  | Crystalizer Area 2 ( GF) | 7.88 | 7.445 | 13.12 | 58.6666 | 8282.0343 | 30 | 4141.0172 | 2 | 15 | 414.1017 | 0 | 12211.2528 | 13432.378 | 65.6064 | 33.5809 | [6 empty] | 24 | 55 | 106 | 76 | 51922.7674 | 36345.9372 | 7575.0314 | 7575.0314 | 1104.6921 | 748440 | 570 | 1610.0275 | 751724.7196 | 751724.7196 | 430 | 1013.721 | 1443.721 | 753168.4406 | 11806.8681 | 22301.862 | 787277.1707 | 65.6064 | 49 | 12211.2528 | 100000 | 0 | 54 | 0 | 0
8 |  | Crystalizer Area 2 ( FF) | 6.55 | 5.41 | 11.483 | 35.4355 | 4378.3069 | 30 | 2189.1535 | 1 | 3 | 218.9153 | 0 | 2460.8738 | 2706.9612 | 14.1895 | 6.7674 | [6 empty] | 24 | 55 | 106 | 76 | 35465.8242 | 24826.077 | 4575.4318 | 4575.4318 | 667.2505 | 149688 | 285 | 851.1429 | 151491.3933 | 151491.3933 | 215 | 535.9048 | 750.9048 | 152242.2981 | 6241.7143 | 11789.9048 | 170273.9173 | 14.1895 | 49 | 2460.8738 | 100000 | 0 | 12 | 0 | 0
8 |  | Crystalizer Area 2 ( FF) | 6.55 | 2.05 | 6.89 | 13.4275 | 995.4665 | 30 | 497.7333 | 1 | 3 | 49.7733 | 0 | 2443.4594 | 2687.8053 | 12.9047 | 6.7195 | [6 empty] | 24 | 55 | 106 | 76 | 15301.753 | 10711.2271 | 1733.7588 | 1733.7588 | 252.8398 | 149688 | 285 | 193.5187 | 150419.3585 | 150419.3585 | 215 | 121.8451 | 336.8451 | 150756.2036 | 1419.1371 | 2680.5922 | 154855.9329 | 12.9047 | 49 | 2443.4594 | 100000 | 0 | 12 | 0 | 0
9 |  | Dedusting | 2.4 | 2 | 9.186 | 4.8 | 474.4385 | 30 | 237.2193 | 0 | 0 | 23.7219 | 237.2193 | 17.9487 | 260.9412 | 1.9364 | 0.65235 | [6 empty] | 24 | NC | 106 | 76 | 10437.6476 | 7306.3533 | 619.776 | 619.776 | 90.384 | 0 | 0 | 1014.5393 | 1104.9233 | 1104.9233 | 0 | 638.784 | 638.784 | 1743.7074 | 7439.9552 | 14053.2488 | 23236.9114 | 1.9364 | 49 | 17.9487 | 100000 | 0 | 2 | 0 | 0
10 |  | Wash Room | 2.4 | 2.3 | 9.186 | 5.52 | 545.6043 | 30 | 272.8022 | 0 | 0 | 27.2802 | 272.8022 | 20.641 | 300.0824 | 2.2269 | 0.75021 | [6 empty] | 24 | NC | 106 | 76 | 11149.3054 | 7804.5138 | 712.7424 | 712.7424 | 103.9416 | 0 | 0 | 1166.7203 | 1270.6619 | 1270.6619 | 0 | 734.6016 | 734.6016 | 2005.2635 | 8555.9485 | 16161.2361 | 26722.4481 | 2.2269 | 49 | 20.641 | 100000 | 0 | 2 | 0 | 0
[6 empty] | 125.4576 | 15427.8356 |  | 7713.9178 | 4 | 21 | 771.3918 | 510.0214 | 17158.8775 | 19801.7599 | 97.1537 | 49.5044
| 3 | CLEAN ROOM - I Grade - D ( Class 100K)
11 | AC - AHU - 003 | Central Corridor | 2.47 | 17.42 | 9.186 | 43.0274 | 4252.8867 | 30 | 2126.4434 | 0 | 0 | 212.6443 | 0 | 26.5914 | 2339.0877 | 1.6394 | 5.8477 | 6 | 14.4 | 0.9085 | 0.98663 | 1 | 100K | 24 | 55 | 106 | 76 | 47182.9116 | 33028.0381 | 5555.6979 | 5555.6979 | 810.2059 | 0 | 0 | 826.7612 | 1636.9671 | 1636.9671 | 0 | 520.5533 | 520.5533 | 2157.5205 | 6062.9153 | 11452.1734 | 19672.6092 | 1.6394 | 49 | 26.5914 | 100000 | 0 | 10 | 0 | 0 | 2350 | 150 |  | 5 | 0 | 0 | 0 | 0 | 8.55 | 3.2706
[6 empty] | 43.0274 | 4252.8867 |  | 2126.4434 | 0 | 0 | 212.6443 | 0 | 26.5914 | 2339.0877 | 1.6394 | 5.8477
| 4 | CLEAN ROOM - I Grade - D ( Class 100K)
12 | AC - AHU - 004 | Change Room | 2.405 | 3.13 | 9.186 | 7.5276 | 744.0432 | 40 | 496.0288 | 0 | 0 | 49.6029 | 0 | 5.4354 | 545.6317 | 0.37848 | 1.3641 | 60 | 144 | 9.085 | 3.12 | 3.5 | 100K | 24 | 55 | 106 | 76 | 13130.0863 | 9191.0604 | 971.9702 | 971.9702 | 141.7456 | 0 | 0 | 192.856 | 334.6016 | 334.6016 | 0 | 121.4278 | 121.4278 | 456.0295 | 1414.2772 | 2671.4126 | 4541.7193 | 0.37848 | 49 | 5.4354 | 100000 | 0 | 4 | 0 | 0 | 12100 | 150 |  | 20 | 550 | 75 |  | 1 | 63.75 | 32.706
13 |  | Clean Room Area 1 | 12.145 | 7.49 | 11.483 | 90.966 | 11239.4995 | 30 | 5619.7498 | 4 | 12.2 | 561.975 | 0 | 9970.2575 | 10967.2832 | 55.1911 | 27.4182 | [6 empty] | 24 | 55 | 106 | 76 | 58225.0384 | 40757.5269 | 11745.5364 | 11745.5364 | 1712.8907 | 608731.2 | 1140 | 2184.9587 | 613769.0494 | 613769.0494 | 860 | 1375.7147 | 2235.7147 | 616004.7642 | 16023.0305 | 30265.7243 | 662293.519 | 55.1911 | 49 | 9970.2575 | 100000 | 0 | 44 | 0 | 0
14 |  | Dedusting | 2.4 | 2 | 9.186 | 4.8 | 474.4385 | 30 | 237.2193 | 0 | 0 | 23.7219 | 237.2193 | 17.9487 | 260.9412 | 1.9364 | 0.65235 | [6 empty] | 24 | NC | 106 | 76 | 10437.6476 | 7306.3533 | 619.776 | 619.776 | 90.384 | 0 | 0 | 1014.5393 | 1104.9233 | 1104.9233 | 0 | 638.784 | 638.784 | 1743.7074 | 7439.9552 | 14053.2488 | 23236.9114 | 1.9364 | 49 | 17.9487 | 100000 | 0 | 2 | 0 | 0
15 |  | Wash Room | 2.4 | 2.2 | 9.186 | 5.28 | 521.8824 | 30 | 260.9412 | 0 | 0 | 26.0941 | 260.9412 | 19.7436 | 287.0353 | 2.1301 | 0.71759 | [6 empty] | 24 | NC | 106 | 76 | 10912.0861 | 7638.4603 | 681.7536 | 681.7536 | 99.4224 | 0 | 0 | 1115.9933 | 1215.4157 | 1215.4157 | 0 | 702.6624 | 702.6624 | 1918.0781 | 8183.9507 | 15458.5736 | 25560.6025 | 2.1301 | 49 | 19.7436 | 100000 | 0 | 2 | 0 | 0
[6 empty] | 108.5737 | 12979.8636 |  | 6613.939 | 4 | 12.2 | 661.3939 | 498.1605 | 10013.3852 | 12060.8914 | 59.6361 | 30.1522
| 5 | CLEAN ROOM - I Grade - D ( Class 100K)
16 | AC - AHU - 005 | Change Room | 3 | 2.4 | 9.186 | 7.2 | 711.6578 | 30 | 355.8289 | 0 | 0 | 35.5829 | 0 | 4.4497 | 391.4118 | 0.27433 | 0.97853 | 60 | 144 | 9.085 | 3.12 | 3.5 | 100K | 24 | 55 | 106 | 76 | 12809.8403 | 8966.8882 | 929.664 | 929.664 | 135.576 | 0 | 0 | 138.3463 | 273.9223 | 273.9223 | 0 | 87.1069 | 87.1069 | 361.0292 | 1014.5393 | 1916.3521 | 3291.9206 | 0.27433 | 49 | 4.4497 | 100000 | 0 | 2 | 0 | 0 | 11950 | 150 |  | 20 | 575 | 75 |  | 1 | 63.75 | 32.706
17 |  | Clean Room Area 2 | 12.145 | 7.425 | 11.483 | 90.1766 | 11141.9605 | 30 | 5570.9802 | 4 | 12.2 | 557.098 | 0 | 9969.708 | 10966.6788 | 55.1538 | 27.4167 | [6 empty] | 24 | 55 | 106 | 76 | 58032.2893 | 40622.6025 | 11643.6058 | 11643.6058 | 1698.0258 | 608731.2 | 1140 | 2165.9971 | 613735.223 | 613735.223 | 860 | 1363.776 | 2223.776 | 615958.9989 | 15883.9788 | 30003.0712 | 661846.0489 | 55.1538 | 49 | 9969.708 | 100000 | 0 | 44 | 0 | 0
18 |  | Dedusting | 2.4 | 2 | 9.186 | 4.8 | 474.4385 | 30 | 237.2193 | 0 | 0 | 23.7219 | 237.2193 | 17.9487 | 260.9412 | 1.9364 | 0.65235 | [6 empty] | 24 | NC | 106 | 76 | 10437.6476 | 7306.3533 | 619.776 | 619.776 | 90.384 | 0 | 0 | 1014.5393 | 1104.9233 | 1104.9233 | 0 | 638.784 | 638.784 | 1743.7074 | 7439.9552 | 14053.2488 | 23236.9114 | 1.9364 | 49 | 17.9487 | 100000 | 0 | 2 | 0 | 0
19 |  | Wash Room | 2.4 | 2.3 | 9.186 | 5.52 | 545.6043 | 30 | 272.8022 | 0 | 0 | 27.2802 | 272.8022 | 20.641 | 300.0824 | 2.2269 | 0.75021 | [6 empty] | 24 | NC | 106 | 76 | 11149.3054 | 7804.5138 | 712.7424 | 712.7424 | 103.9416 | 0 | 0 | 1166.7203 | 1270.6619 | 1270.6619 | 0 | 734.6016 | 734.6016 | 2005.2635 | 8555.9485 | 16161.2361 | 26722.4481 | 2.2269 | 49 | 20.641 | 100000 | 0 | 2 | 0 | 0
[6 empty] | 107.6966 | 12873.6611 |  | 6436.8305 | 4 | 12.2 | 643.6831 | 510.0214 | 10012.7474 | 11919.1141 | 59.5914 | 29.7978
| 6 | CLEAN ROOM - I Grade - D ( Class 100K)
20 | AC - AHU - 006 | Clean Room | 4.78 | 4.155 | 9.186 | 19.8609 | 1963.0784 | 30 | 981.5392 | 2 | 0.5 | 98.1539 | 0 | 426.7967 | 1079.6931 | 2.9191 | 2.6992 | 4.5 | 10.8 | 0.68137 | 0.85445 | 1 | 100K | 24 | 55 | 106 | 76 | 21195.5412 | 14836.8789 | 2564.4394 | 2564.4394 | 373.9807 | 24948 | 570 | 381.6224 | 26273.6032 | 26273.6032 | 430 | 240.2808 | 670.2808 | 26943.884 | 2798.5645 | 5286.1774 | 35028.6259 | 2.9191 | 49 | 426.7967 | 100000 | 0 | 6 | 0 | 0 | 1750 | 150 |  | 5 | 0 | 0 | 0 | 0 | 7.35 | 2.4529
21 |  | PM Stores | 4.78 | 2.5 | 9.186 | 11.95 | 1181.1543 | 30 | 590.5771 | 0 | 0 | 59.0577 | 0 | 7.3852 | 649.6348 | 0.45531 | 1.6241 | [6 empty] | 24 | 55 | 106 | 76 | 17269.5624 | 12088.6937 | 1542.984 | 1542.984 | 225.0185 | 0 | 0 | 229.6164 | 454.6349 | 454.6349 | 0 | 144.5733 | 144.5733 | 599.2082 | 1683.8535 | 3180.6122 | 5463.6738 | 0.45531 | 49 | 7.3852 | 100000 | 0 | 4 | 0 | 0
[6 empty] | 31.8109 | 3144.2326 |  | 1572.1163 | 2 | 0.5 | 157.2116 | 0 | 434.1819 | 1729.3279 | 3.3744 | 4.3233
| 7 | CLEAN ROOM - I Grade - D ( Class 100K)
22 | AC - AHU - 007 | Change Room | 1.79 | 2.45 | 9.186 | 4.3855 | 433.4688 | 30 | 216.7344 | 0 | 0 | 21.6734 | 0 | 2.7103 | 238.4078 | 0.16709 | 0.59602 | 23 | 55.2 | 3.4826 | 1.9317 | 2 | 100K | 24 | 55 | 106 | 76 | 10058.0968 | 7040.6678 | 566.2558 | 566.2558 | 82.579 | 0 | 0 | 84.2663 | 166.8453 | 166.8453 | 0 | 53.0566 | 53.0566 | 219.9019 | 617.9531 | 1167.2447 | 2005.0997 | 0.16709 | 49 | 2.7103 | 100000 | 0 | 2 | 0 | 0 | 5000 | 150 |  | 7.5 | 150 | 0 | 0 | 0 | 24.025 | 12.5373
23 |  | Micronizer | 2.9 | 4.811 | 11.483 | 13.9519 | 1723.856 | 30 | 861.928 | 2 | 5 | 86.1928 | 0 | 4071.6022 | 4478.7624 | 21.5324 | 11.1969 | [6 empty] | 24 | 55 | 106 | 76 | 22865.9675 | 16006.1772 | 1801.4693 | 1801.4693 | 262.7143 | 249480 | 570 | 335.1176 | 250647.8319 | 250647.8319 | 430 | 211 | 641 | 251288.8319 | 2457.5291 | 4641.9995 | 258388.3605 | 21.5324 | 49 | 4071.6022 | 100000 | 0 | 18 | 0 | 0
24 |  | Micronizer | 1.89 | 0.88 | 11.483 | 1.6632 | 205.5001 | 30 | 102.7501 | 0 | 0 | 10.275 | 0 | 1.1577 | 113.0251 | 0.078563 | 0.28256 | [6 empty] | 24 | 55 | 106 | 76 | 8214.0747 | 5749.8523 | 214.7524 | 214.7524 | 31.3181 | 0 | 0 | 39.9492 | 71.2673 | 71.2673 | 0 | 25.1532 | 25.1532 | 96.4205 | 292.961 | 553.3708 | 942.7523 | 0.078563 | 49 | 1.1577 | 100000 | 0 | 2 | 0 | 0
25 |  | Wash Room | 1.79 | 1.359 | 9.186 | 2.4326 | 240.4425 | 30 | 120.2212 | 0 | 0 | 12.0221 | 120.2212 | 9.0963 | 132.2434 | 0.98136 | 0.33061 | [6 empty] | 24 | NC | 106 | 76 | 7470.0346 | 5229.0242 | 314.0986 | 314.0986 | 45.806 | 0 | 0 | 514.1622 | 559.9682 | 559.9682 | 0 | 323.7318 | 323.7318 | 883.7 | 3770.5228 | 7122.0986 | 11776.3214 | 0.98136 | 49 | 9.0963 | 100000 | 0 | 2 | 0 | 0
[6 empty] | 22.4332 | 2603.2674 |  | 1301.6337 | 2 | 5 | 130.1634 | 120.2212 | 4084.5665 | 4962.4387 | 22.7594 | 12.4061
| 8 | Intermediate Clean Room Area - 1
Unclassified Ventilation System ( FAM -001)
26 | FAM - 001 | Carbon Reactor Room (GF) | 4.5 | 3.41 | 7.546 | 15.345 | 1245.9367 | 15 | 311.4842 | 0 | 0 | 311.4842 | 311.4842 | 0 | 327.0584 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NC | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 288.9463 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 33550.5824 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0 | 1850 | 75 |  | 1.5 | 1750 | 50 |  | 1.5 | 2.25
27 |  | Carbon Reactor Room (GF) | 6 | 4.06 | 19.193 | 24.36 | 5030.7463 | 15 | 1257.6866 | 0 | 0 | 1257.6866 | 1257.6866 | 0 | 1320.5709 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 458.6988 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 135467.937 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 4 | 0 | 0 | 0
[6 empty] | 39.705 | 6276.683 | 30 | 1569.1707 | 0 | 0 | 1569.1707 | 1569.1707 | 0 | 1647.6293 | 0 | 0
| 9 | Unclassified Ventilation System ( FAM -002)
28 | FAM - 002 | Carbon Reactor Room (FF) | 3.968 | 5.919 | 19.193 | 23.4866 | 4850.373 | 15 | 1212.5933 | 0 | 0 | 1212.5933 | 1212.5933 | 0 | 1273.2229 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NC | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 442.2525 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 130610.8443 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 4 | 0 | 0 | 0 | 1950 | 75 |  | 1.5 | 1825 | 50 |  | 1.5
29 |  | Carbon Reactor Room (FF) | 4 | 5.44 | 7.546 | 21.76 | 1766.8023 | 15 | 441.7006 | 0 | 0 | 441.7006 | 441.7006 | 0 | 463.7856 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 409.7408 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 47576.4531 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0
[6 empty] | 45.2466 | 6617.1753 | 30 | 1654.2938 | 0 | 0 | 1654.2938 | 1654.2938 | 0 | 1737.0085 | 0 | 0
| 10 | Ventilation System ( Class100D, Associated Rooms)
30 | VENT. SUP. & EX. - 001 | Airlock | 2 | 3.051 | 9.186 | 6.102 | 603.13 | 30 | 301.565 | 0 | 0 | 301.565 | 301.565 | 0 | 316.6432 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100K | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 114.9007 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 32482.1681 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0 | 9000 | 110 |  | 12.5 | 8575 | 50 |  | 5 | 13.125
31 |  | Primary Change Room | 2.66 | 3 | 9.186 | 7.98 | 788.7541 | 30 | 394.377 | 0 | 0 | 394.377 | 394.377 | 0 | 414.0959 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 150.2634 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 42479.1383 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0
32 |  | Corridor | 19.105 | 3 | 11.483 | 57.315 | 7081.674 | 30 | 3540.837 | 0 | 0 | 3540.837 | 3540.837 | 0 | 3717.8789 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 1079.2414 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 381390.6371 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 12 | 0 | 0 | 0
32 |  | Corridor | 17.83 | 2 | 11.483 | 35.66 | 4406.0455 | 30 | 2203.0227 | 0 | 0 | 2203.0227 | 2203.0227 | 0 | 2313.1739 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 671.4778 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 237291.985 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 8 | 0 | 0 | 0
33 |  | ACC. Stores | 2.66 | 3 | 9.186 | 7.98 | 788.7541 | 30 | 394.377 | 0 | 0 | 394.377 | 394.377 | 0 | 414.0959 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 150.2634 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 42479.1383 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0
34 |  | Dedusting | 2.01 | 3 | 9.186 | 6.03 | 596.0134 | 30 | 298.0067 | 0 | 0 | 298.0067 | 298.0067 | 0 | 312.907 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 113.5449 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 32098.8977 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0
35 |  | Airlock | 1.817 | 2.5 | 9.186 | 4.5425 | 448.9869 | 30 | 224.4934 | 0 | 0 | 224.4934 | 224.4934 | 0 | 235.7181 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 85.5353 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 24180.6373 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0
36 |  | Office Room | 2.86 | 3.051 | 9.186 | 8.7259 | 862.4759 | 30 | 431.2379 | 0 | 0 | 431.2379 | 431.2379 | 0 | 452.7998 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 164.3079 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 46449.5004 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0
[6 empty] | 134.3354 | 15575.8337 |  | 7787.9169 | 0 | 0 | 7787.9169 | 7787.9169 | 0 | 8177.3127 | 0 | 0
| 11 | Unclassified Ventilation System
37 | VENT. SUP. & EX. - 002 | Corridor | 22.244 | 2.5 | 9.843 | 55.61 | 5889.6929 | 15 | 1472.4232 | 0 | 0 | 1472.4232 | 1472.4232 | 0 | 1546.0444 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NC | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 1047.1363 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 158597.6508 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 6 | 0 | 0 | 0 | 3900 | 90 |  | 5 | 3700 | 50 |  | 2 | 5.25
38 |  | RCVD Room | 4.938 | 4.717 | 11.483 | 23.2925 | 2877.959 | 15 | 719.4897 | 0 | 0 | 719.4897 | 719.4897 | 0 | 755.4642 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 438.5986 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 77497.6791 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 4 | 0 | 0 | 0
39 |  | RCVD Room | 4.923 | 4.717 | 11.483 | 23.2218 | 2869.2167 | 15 | 717.3042 | 0 | 0 | 717.3042 | 717.3042 | 0 | 753.1694 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 437.2663 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 77262.267 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 4 | 0 | 0 | 0
40 |  | VTD | 4.287 | 2.03 | 9.843 | 8.7026 | 921.6993 | 15 | 230.4248 | 0 | 0 | 230.4248 | 230.4248 | 0 | 241.9461 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 163.8701 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 24819.5199 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0
41 |  | VTD | 4.1 | 2.03 | 9.843 | 8.323 | 881.4946 | 15 | 220.3736 | 0 | 0 | 220.3736 | 220.3736 | 0 | 231.3923 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 156.7221 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 23736.8863 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0
[6 empty] | 119.1499 | 13440.0625 |  | 3360.0156 | 0 | 0 | 3360.0156 | 3360.0156 | 0 | 3528.0164 | 0 | 0
| 12 | Unclassified Ventilation System
42 | VENT. SUP. & EX. - 003 | Corridor | 15.131 | 2 | 7.874 | 30.262 | 2563.925 | 15 | 640.9812 | 0 | 0 | 640.9812 | 640.9812 | 0 | 673.0303 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NC | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 569.8335 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 69041.3711 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0 | 4450 | 90 |  | 5 | 4200 | 50 |  | 3 | 6
43 |  | Int. Mat. Stores | 7.634 | 7.456 | 7.874 | 56.9191 | 4822.4278 | 15 | 1205.607 | 0 | 0 | 1205.607 | 1205.607 | 0 | 1265.8873 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 1071.7867 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 129858.3365 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 4 | 0 | 0 | 0
44 |  | Intl/ Miller / Sifter / Packing | 7.71 | 7.46 | 7.874 | 57.5166 | 4873.0502 | 15 | 1218.2626 | 0 | 0 | 1218.2626 | 1218.2626 | 0 | 1279.1757 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 1083.0376 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 131221.4964 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 4 | 0 | 0 | 0
44 |  | Intl/ Miller / Sifter / Packing | 0.93 | 2.437 | 7.874 | 2.2664 | 192.0199 | 15 | 48.005 | 0 | 0 | 48.005 | 48.005 | 0 | 50.4052 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 42.6765 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 5170.7109 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0
45 |  | Clean Room | 2.2 | 3.71 | 7.874 | 8.162 | 691.5192 | 15 | 172.8798 | 0 | 0 | 172.8798 | 172.8798 | 0 | 181.5238 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 153.6905 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 18621.2303 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0
46 |  | Dirty Room | 2.275 | 3.71 | 7.874 | 8.4402 | 715.0938 | 15 | 178.7734 | 0 | 0 | 178.7734 | 178.7734 | 0 | 187.7121 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 158.9299 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 19256.0449 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0
47 |  | Dry Room | 2.2 | 3.71 | 7.874 | 8.162 | 691.5192 | 15 | 172.8798 | 0 | 0 | 172.8798 | 172.8798 | 0 | 181.5238 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 153.6905 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 18621.2303 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0
48 |  | Wash Room | 2.275 | 3.71 | 7.874 | 8.4402 | 715.0938 | 15 | 178.7734 | 0 | 0 | 178.7734 | 178.7734 | 0 | 187.7121 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 158.9299 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 19256.0449 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0
[6 empty] | 180.1686 | 15264.6489 |  | 3816.1622 | 0 | 0 | 3816.1622 | 3816.1622 | 0 | 4006.9703 | 0 | 0
| 13 | Drying Area ( FF)
49 | AC - AHU - 001 | Drying Room | 5.2 | 4.991 | 7.546 | 25.9532 | 2107.269 | 30 | 1053.6345 | 3 | 6.7 | 105.3635 | 0 | 5459.0083 | 6004.9091 | 28.8032 | 15.0123 | 37.5 | 90 | 5.6781 | 2.4666 | 2.5 | 100K | 24 | 55 | 106 | 76 | 19858.9881 | 13901.2917 | 3351.0772 | 3351.0772 | 488.6988 | 334303.2 | 855 | 409.6531 | 336056.5519 | 336056.5519 | 645 | 257.9297 | 902.9297 | 336959.4816 | 3004.1227 | 5674.4541 | 345638.0584 | 28.8032 | 49 | 5459.0083 | 100000 | 0 | 26 | 0 | 0 | 9600 | 150 |  | 15 | 275 | 50 |  | 0.5 | 41.625 | 20.4412
50 |  | De-Dusting | 2.98 | 1.936 | 7.546 | 5.7693 | 468.4365 | 30 | 234.2182 | 1 | 1 | 23.4218 | 234.2182 | 833.1927 | 916.5119 | 6.1132 | 2.2913 | [6 empty] | 24 | NC | 106 | 76 | 9579.7062 | 6705.7943 | 744.9294 | 744.9294 | 108.6355 | 49896 | 285 | 1001.7045 | 51291.3401 | 51291.3401 | 215 | 630.7028 | 845.7028 | 52137.0429 | 7345.8332 | 13875.4627 | 73358.3387 | 6.1132 | 49 | 833.1927 | 100000 | 0 | 4 | 0 | 0
51 |  | PM Stores | 3.235 | 2.98 | 7.546 | 9.6403 | 782.7438 | 30 | 391.3719 | 1 | 0 | 39.1372 | 0 | 10.0502 | 430.5091 | 0.3461 | 1.0763 | [6 empty] | 24 | 55 | 106 | 76 | 12111.0402 | 8477.7282 | 1244.7555 | 1244.7555 | 181.5268 | 0 | 285 | 152.1654 | 618.6922 | 618.6922 | 215 | 95.8078 | 310.8078 | 929.5001 | 1115.8795 | 2107.7724 | 4153.152 | 0.3461 | 49 | 10.0502 | 100000 | 0 | 2 | 0 | 0
52 |  | Stores | 5.4 | 1.917 | 7.546 | 10.3518 | 840.514 | 30 | 420.257 | 1 | 0 | 42.0257 | 0 | 10.4503 | 462.2827 | 0.36856 | 1.1557 | [6 empty] | 24 | 55 | 106 | 76 | 14258.4845 | 9980.9392 | 1336.6244 | 1336.6244 | 194.9244 | 0 | 285 | 163.3959 | 643.3203 | 643.3203 | 215 | 102.8789 | 317.8789 | 961.1992 | 1198.2367 | 2263.3361 | 4422.772 | 0.36856 | 49 | 10.4503 | 100000 | 0 | 2 | 0 | 0
53 |  | Airlock | 2.764 | 2.135 | 7.546 | 5.9011 | 479.1428 | 30 | 239.5714 | 1 | 0 | 23.9571 | 0 | 7.9478 | 263.5286 | 0.22802 | 0.65882 | [6 empty] | 24 | 55 | 106 | 76 | 9546.5786 | 6682.605 | 761.9552 | 761.9552 | 111.1185 | 0 | 285 | 93.1454 | 489.2638 | 489.2638 | 215 | 58.6471 | 273.6471 | 762.9109 | 683.066 | 1290.2358 | 2736.2127 | 0.22802 | 49 | 7.9478 | 100000 | 0 | 2 | 0 | 0
54 |  | Change Room | 2.545 | 2.135 | 7.546 | 5.4336 | 441.1789 | 30 | 220.5895 | 1 | 0 | 22.0589 | 0 | 7.6849 | 242.6484 | 0.21325 | 0.60662 | [6 empty] | 24 | 55 | 106 | 76 | 9119.8179 | 6383.8725 | 701.5832 | 701.5832 | 102.3142 | 0 | 285 | 85.7652 | 473.0794 | 473.0794 | 215 | 54.0003 | 269.0003 | 742.0797 | 628.9446 | 1188.0066 | 2559.0309 | 0.21325 | 49 | 7.6849 | 100000 | 0 | 2 | 0 | 0
55 |  | Corridor | 13.168 | 2.135 | 7.546 | 28.1137 | 2282.6891 | 30 | 1141.3446 | 1 | 0 | 114.1345 | 0 | 20.4375 | 1255.479 | 0.92946 | 3.1387 | [6 empty] | 24 | 55 | 106 | 76 | 29820.6353 | 20874.4447 | 3630.0384 | 3630.0384 | 529.3806 | 0 | 285 | 443.7548 | 1258.1354 | 1258.1354 | 215 | 279.4011 | 494.4011 | 1752.5365 | 3254.2016 | 6146.8253 | 11153.5634 | 0.92946 | 49 | 20.4375 | 100000 | 0 | 6 | 0 | 0
[6 empty] | 91.163 | 7401.9741 |  | 3700.9871 | 9 | 7.7 | 370.0987 | 234.2182 | 6348.7717 | 9575.8688 | 37.0018 | 23.9397 | [25 empty] | 32546.0928 |  |  |  | 6348.7717
| 14 | Grade - D ( Class 100K)
56 |  | Wash Room | 2.045 | 2.262 | 7.546 | 4.6258 | 375.5908 | 30 | 187.7954 | 1 | 0 | 18.7795 | 187.7954 | 19.0914 | 206.575 | 1.5759 | 0.51644 | 42.5 | 102 | 6.4352 | 2.6259 | 3 | 100K | 24 | NC | 106 | 76 | 8392.9606 | 5875.0724 | 597.282 | 597.282 | 87.1036 | 0 | 285 | 803.1634 | 1175.2671 | 1175.2671 | 215 | 505.6955 | 720.6955 | 1895.9626 | 5889.8652 | 11125.301 | 18911.1288 | 1.5759 | 49 | 19.0914 | 100000 | 0 | 2 | 0 | 0 | 8750 | 150 |  | 15 | 225 | 50 |  | 0.5 | 45.625 | 23.1667
57 |  | Crystalizer Area | 5.72 | 4.997 | 7.546 | 28.5828 | 2320.7826 | 30 | 1160.3913 | 1 | 5.5 | 116.0391 | 0 | 4478.5961 | 4926.4557 | 23.8133 | 12.3161 | [6 empty] | 24 | 55 | 106 | 76 | 20883.9933 | 14618.7953 | 3690.6163 | 3690.6163 | 538.2149 | 274428 | 285 | 451.1601 | 275702.375 | 275702.375 | 215 | 284.0638 | 499.0638 | 276201.4388 | 3308.5076 | 6249.4033 | 285759.3496 | 23.8133 | 49 | 4478.5961 | 100000 | 0 | 20 | 0 | 0
57 |  | Crystalizer Area | 2.145 | 2.636 | 7.546 | 5.6542 | 459.0942 | 30 | 229.5471 | 1 | 0 | 22.9547 | 0 | 7.8089 | 252.5018 | 0.22022 | 0.63125 | [6 empty] | 24 | 55 | 106 | 76 | 9316.6345 | 6521.6441 | 730.0729 | 730.0729 | 106.469 | 0 | 285 | 89.2479 | 480.7169 | 480.7169 | 215 | 56.1931 | 271.1931 | 751.91 | 654.4846 | 1236.2488 | 2642.6434 | 0.22022 | 49 | 7.8089 | 100000 | 0 | 2 | 0 | 0
58 |  | Crystalizer Area | 7.93 | 5 | 7.546 | 39.65 | 3219.3802 | 30 | 1609.6901 | 2 | 3.7 | 160.969 | 0 | 3030.5013 | 3333.5514 | 16.72 | 8.3339 | [6 empty] | 24 | 55 | 106 | 76 | 25196.42 | 17637.494 | 5119.608 | 5119.608 | 746.6095 | 184615.2 | 570 | 625.8475 | 186557.657 | 186557.657 | 430 | 394.0521 | 824.0521 | 187381.7091 | 4589.5484 | 8669.1469 | 200640.4044 | 16.72 | 49 | 3030.5013 | 100000 | 0 | 14 | 0 | 0
[6 empty] | 78.5129 | 6374.8477 |  | 3187.4239 | 5 | 9.2 | 318.7424 | 187.7954 | 7535.9977 | 8719.0838 | 42.3295 | 21.7977
| 15 | Unclassified Ventilation System
59 | VENT. SUPPLY & EXHAUST | PM Stores | 4.5 | 3.41 | 7.546 | 15.345 | 1245.9367 | 15 | 311.4842 | 1 | 0 | 311.4842 | 311.4842 | 0 | 327.0584 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NC | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 288.9463 | #VALUE! | 285 | #VALUE! | #VALUE! | #VALUE! | 215 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 33550.5824 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0 | 17150 | 90 |  | 15 | 16350 | 50 |  | 10 | 18.75
60 |  | Drying Area ( FF) | 4 | 5.44 | 7.546 | 21.76 | 1766.8023 | 15 | 441.7006 | 1 | 0 | 441.7006 | 441.7006 | 0 | 463.7856 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 409.7408 | #VALUE! | 285 | #VALUE! | #VALUE! | #VALUE! | 215 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 47576.4531 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0
61 |  | Wash Room | 4 | 1.776 | 7.546 | 7.104 | 576.809 | 15 | 144.2022 | 1 | 0 | 144.2022 | 144.2022 | 0 | 151.4124 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 133.7683 | #VALUE! | 285 | #VALUE! | #VALUE! | #VALUE! | 215 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 15532.3126 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0
62 |  | Change Room | 2 | 2 | 7.546 | 4 | 324.7798 | 15 | 81.195 | 1 | 5 | 81.195 | 81.195 | 0 | 85.2547 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 75.32 | #VALUE! | 285 | #VALUE! | #VALUE! | #VALUE! | 215 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 8745.6715 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0
63 |  | Airlock | 2 | 1.8 | 7.546 | 3.6 | 292.3019 | 15 | 73.0755 | 1 | 0 | 73.0755 | 73.0755 | 0 | 76.7292 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 67.788 | #VALUE! | 285 | #VALUE! | #VALUE! | #VALUE! | 215 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 7871.1044 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0
64 |  | Reactors Area | 18.537 | 9.61 | 10.991 | 178.1406 | 21067.4667 | 15 | 5266.8667 | 1 | 0 | 5266.8667 | 5266.8667 | 0 | 5530.21 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 3354.3869 | #VALUE! | 285 | #VALUE! | #VALUE! | #VALUE! | 215 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 567304.7442 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 16 | 0 | 0 | 0
64 |  | Reactors Area | 12.4 | 4.245 | 10.991 | 52.638 | 6225.1362 | 15 | 1556.2841 | 1 | 0 | 1556.2841 | 1556.2841 | 0 | 1634.0983 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 991.1735 | #VALUE! | 285 | #VALUE! | #VALUE! | #VALUE! | 215 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 167630.468 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 6 | 0 | 0 | 0
64 |  | Reactors Area | 3.646 | 9.551 | 10.991 | 34.8229 | 4118.2716 | 15 | 1029.5679 | 1 | 0 | 1029.5679 | 1029.5679 | 0 | 1081.0463 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 655.7161 | #VALUE! | 285 | #VALUE! | #VALUE! | #VALUE! | 215 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 110896.8186 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 4 | 0 | 0 | 0
65 |  | Tray Driers | 2.755 | 2.75 | 7.546 | 7.5762 | 615.1533 | 15 | 153.7883 | 1 | 0 | 153.7883 | 153.7883 | 0 | 161.4777 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 142.6608 | #VALUE! | 285 | #VALUE! | #VALUE! | #VALUE! | 215 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 16564.8485 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0
66 |  | Tray Driers | 2.755 | 2.919 | 7.546 | 8.0418 | 652.9573 | 15 | 163.2393 | 1 | 0 | 163.2393 | 163.2393 | 0 | 171.4013 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 151.4279 | #VALUE! | 285 | #VALUE! | #VALUE! | #VALUE! | 215 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 17582.8337 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0
67 |  | RCVD | 4.32 | 3 | 7.546 | 12.96 | 1052.2867 | 15 | 263.0717 | 1 | 0 | 263.0717 | 263.0717 | 0 | 276.2253 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 244.0368 | #VALUE! | 285 | #VALUE! | #VALUE! | #VALUE! | 215 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 28335.9758 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0
68 |  | VTD | 2.985 | 3 | 7.546 | 8.955 | 727.1009 | 15 | 181.7752 | 1 | 0 | 181.7752 | 181.7752 | 0 | 190.864 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 168.6226 | #VALUE! | 285 | #VALUE! | #VALUE! | #VALUE! | 215 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 19579.3721 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0
69 |  | VTD | 2.6 | 3 | 7.546 | 7.8 | 633.3207 | 15 | 158.3302 | 1 | 0 | 158.3302 | 158.3302 | 0 | 166.2467 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 146.874 | #VALUE! | 285 | #VALUE! | #VALUE! | #VALUE! | 215 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 17054.0595 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0
70 |  | Reactors Area | 15.4 | 7.2 | 10.991 | 110.88 | 13113.0192 | 15 | 3278.2548 | 1 | 0 | 3278.2548 | 3278.2548 | 0 | 3442.1675 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 2087.8704 | #VALUE! | 285 | #VALUE! | #VALUE! | #VALUE! | 215 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 353107.3805 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 10 | 0 | 0 | 0
70 |  | Reactors Area | 12.3 | 7.387 | 10.991 | 90.8601 | 10745.4025 | 15 | 2686.3506 | 1 | 0 | 2686.3506 | 2686.3506 | 0 | 2820.6682 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 1710.8957 | #VALUE! | 285 | #VALUE! | #VALUE! | #VALUE! | 215 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 289352.1997 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 10 | 0 | 0 | 0
70 |  | Reactors Area | 6.4 | 2.864 | 10.991 | 18.3296 | 2167.7164 | 15 | 541.9291 | 1 | 0 | 541.9291 | 541.9291 | 0 | 569.0256 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 345.1464 | #VALUE! | 285 | #VALUE! | #VALUE! | #VALUE! | 215 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 58372.2677 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 2 | 0 | 0 | 0
[6 empty] | 582.8133 | 65324.4612 |  | 16331.1153 | 16 | 5 | 16331.1153 | 16331.1153 | 0 | 17147.6711 | 0 | 0
| 16 | Unclassified Ventilation System
71 | VSU | MCC Room | 10.7 | 22.48 | 22.474 | 240.536 | 58166.4732 | 15 | 14541.6183 | 0 | 0 | 14541.6183 | 14541.6183 | 0 | 15268.6992 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NC | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 4529.2929 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 1566306.7916 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 44 | 0 | 0 | 0 | 19300 | 90 |  | 15 | 18375 | 50 |  | 10 | 18.75
72 |  | VFD's Area | 8.29 | 7.61 | 22.474 | 63.0869 | 15255.6893 | 15 | 3813.9223 | 0 | 0 | 3813.9223 | 3813.9223 | 0 | 4004.6184 | 0 | 0 | [6 empty] | NC | NC | 106 | NC | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 1187.9263 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 410805.2014 | #VALUE! | #VALUE! | 49 | #VALUE! | 5 | 12 | 0 | 0 | 0
[6 empty] | 303.6229 | 73422.1625 |  | 18355.5406 |  |  | 18355.5406 | 18355.5406 | 0 | 19273.3177 | 0 | 0
[6 empty] | 2160.6661 | 278551.6417 |  | 94432.1393 | 52 | 97.8 | 57030.0077 | 55444.6748 | 76039.4554 | 150127.0067 | 438.2686 | 236.5227 | 446 | 1070.4 | 67.5318 | 206 | 416 | 0 | 0 | 1306.2 | 1555 | [22 empty] | 206 | 416 | 0 | 0 |  |  |  | 206.5 |  |  |  | 36.5 | 539.05
[6 empty] | Area in Sq. Mtrs | Volume in Cft | No. of Air Ch. | Room CFM | Occupancy | Eqpt. Load in KW | Fresh Air Cfm | Exhaust Air Cfm | Deh. CFM | Resultant CFM | Room and Cfm AC Load in TR | CFm AC Load in TR |  | Ch. Water In Gal/m | Ch. Water In L/s | 20/5 Micron terminal | 100K term./Plenum | 10K terminal | 1K/100 terminal | Terminal Modules | Terminal grills | Inside Temp. in F | [25 empty] | Supply System |  |  |  | Exhaust System
[18 empty] | Res. AC Load in TR | [9 empty] | Walls | Partition | Floor | Roof | Lighting load | Eqpt. Load | People | Fresh Air | RSH | ERSH | People | Fresh Air | ERLH | ERTH | Outside Air Temp Diff. | Grains | Grand Total Heat | AC Load | ADP | Deh. CFM | Filtration Level NC 5 Micron / 100K/10K/1K/100 | NC Supply Terminal Mod/Filt/ Grils | Plenum Hepa /Terminal 100K | Terminal 10K | Terminal 1K/100 | AHU Cfm |  |  | Motor rating in Hp | AHU CFM |  |  | Motor Hp | KW/Hr

## Motors
4 Pole Eff2 Non-Flame Proof Motors | [8 empty] | 4 Pole Eff1 Non-Flame Proof Motors
Motor | Quote Price | Margin 50% | Subtotal | VAT5% | After Disc | ED | Basic | Motor | Basic | After Disc | ED | VAT | Sub-Total | Margin | Quote Price | Motor
0.5 | 8550 | 2841.3 | 5682.6 | 270.6 | 4983 | 429 | 9060 | 0.5 | 9060 | 4983 | 429 | 270.6 | 6534.99 | 3267.495 | 9850 | 0.5
1 | 9600 | 3189.6375 | 6379.275 | 303.775 | 5593.5 | 482 | 10170 | 1 | 10170 | 5593.5 | 482 | 303.775 | 7336.1662 | 3668.0831 | 11050 | 1
1.5 | 10900 | 3631.95 | 7263.9 | 345.9 | 6369 | 549 | 11580 | 1.5 | 11580 | 6369 | 549 | 345.9 | 8353.485 | 4176.7425 | 12550 | 1.5
2 | 11900 | 3954.5625 | 7909.125 | 376.625 | 6935.5 | 597 | 12610 | 2 | 12610 | 6935.5 | 597 | 376.625 | 9095.4937 | 4547.7469 | 13650 | 2
3 | 15750 | 5247.1125 | 10494.225 | 499.725 | 9201.5 | 793 | 16730 | 3 | 16730 | 9201.5 | 793 | 499.725 | 12068.3587 | 6034.1794 | 18150 | 3
5 | 20200 | 6727.0875 | 13454.175 | 640.675 | 11797.5 | 1016 | 21450 | 5 | 21450 | 11797.5 | 1016 | 640.675 | 15472.3013 | 7736.1506 | 23250 | 5
7.5 | 27850 | 9270.975 | 18541.95 | 882.95 | 16258 | 1401 | 29560 | 7.5 | 29560 | 16258 | 1401 | 882.95 | 21323.2425 | 10661.6213 | 32000 | 7.5
10 | 32450 | 10801.35 | 21602.7 | 1028.7 | 18942 | 1632 | 34440 | 10 | 34440 | 18942 | 1632 | 1028.7 | 24843.105 | 12421.5525 | 37300 | 10
12.5 | 51600 | 17196.1125 | 34392.225 | 1637.725 | 30156.5 | 2598 | 54830 | 12.5 | 54830 | 30156.5 | 2598 | 1637.725 | 39551.0588 | 19775.5294 | 59350 | 12.5
15 | 51950 | 17311.875 | 34623.75 | 1648.75 | 30360 | 2615 | 55200 | 15 | 55200 | 30360 | 2615 | 1648.75 | 39817.3125 | 19908.6562 | 59750 | 15
20 | 64600 | 21517.9125 | 43035.825 | 2049.325 | 37735.5 | 3251 | 68610 | 20 | 68610 | 37735.5 | 3251 | 2049.325 | 49491.1987 | 24745.5994 | 74250 | 20
25 | 87250 | 29070.0375 | 58140.075 | 2768.575 | 50979.5 | 4392 | 92690 | 25 | 92690 | 50979.5 | 4392 | 2768.575 | 66861.0863 | 33430.5431 | 100300 | 25
30 | 97200 | 32397.225 | 64794.45 | 3085.45 | 56815 | 4894 | 103300 | 30 | 103300 | 56815 | 4894 | 3085.45 | 74513.6175 | 37256.8088 | 111800 | 30
40 | 131250 | 43738.275 | 87476.55 | 4165.55 | 76703 | 6608 | 139460 | 40 | 139460 | 76703 | 6608 | 4165.55 | 100598.0325 | 50299.0163 | 150900 | 40
50 | 161200 | 53720.8875 | 107441.775 | 5116.275 | 94209.5 | 8116 | 171290 | 50 | 171290 | 94209.5 | 8116 | 5116.275 | 123558.0413 | 61779.0206 | 185350 | 50
4 Pole Eff2 Flame Proof Motors | [8 empty] | 4 Pole Eff1 Flame Proof Motors
Motor | Quote Price | Margin 50% | Subtotal | VAT5% | After Disc | ED | Basic | Motor | Basic | After Disc | ED | VAT | Sub-Total | Margin | Quote Price | Motor
0.5 | 17250 | 5748.4875 | 11496.975 | 547.475 | 10081.5 | 868 | 18330 | 0.5 | 18330 | 10081.5 | 868 | 547.475 | 13221.5212 | 6610.7606 | 19850 | 0.5
1 | 19800 | 6595.3125 | 13190.625 | 628.125 | 11566.5 | 996 | 21030 | 1 | 21030 | 11566.5 | 996 | 628.125 | 15169.2188 | 7584.6094 | 22800 | 1
1.5 | 22600 | 7533.225 | 15066.45 | 717.45 | 13211 | 1138 | 24020 | 1.5 | 24020 | 13211 | 1138 | 717.45 | 17326.4175 | 8663.2088 | 26000 | 1.5
2 | 24550 | 8182.3875 | 16364.775 | 779.275 | 14349.5 | 1236 | 26090 | 2 | 26090 | 14349.5 | 1236 | 779.275 | 18819.4912 | 9409.7456 | 28250 | 2
3 | 31250 | 10409.4375 | 20818.875 | 991.375 | 18254.5 | 1573 | 33190 | 3 | 33190 | 18254.5 | 1573 | 991.375 | 23941.7062 | 11970.8531 | 35950 | 3
5 | 39600 | 13191.15 | 26382.3 | 1256.3 | 23133 | 1993 | 42060 | 5 | 42060 | 23133 | 1993 | 1256.3 | 30339.645 | 15169.8225 | 45550 | 5
7.5 | 54450 | 18146.1 | 36292.2 | 1728.2 | 31823 | 2741 | 57860 | 7.5 | 57860 | 31823 | 2741 | 1728.2 | 41736.03 | 20868.015 | 62650 | 7.5
10 | 62050 | 20667.675 | 41335.35 | 1968.35 | 36245 | 3122 | 65900 | 10 | 65900 | 36245 | 3122 | 1968.35 | 47535.6525 | 23767.8262 | 71350 | 10
12.5 | 94900 | 31622.5875 | 63245.175 | 3011.675 | 55456.5 | 4777 | 100830 | 12.5 | 100830 | 55456.5 | 4777 | 3011.675 | 72731.9513 | 36365.9756 | 109100 | 12.5
15 | 100250 | 33410.2125 | 66820.425 | 3181.925 | 58591.5 | 5047 | 106530 | 15 | 106530 | 58591.5 | 5047 | 3181.925 | 76843.4888 | 38421.7444 | 115300 | 15
20 | 122150 | 40711.3875 | 81422.775 | 3877.275 | 71395.5 | 6150 | 129810 | 20 | 129810 | 71395.5 | 6150 | 3877.275 | 93636.1912 | 46818.0956 | 140500 | 20
25 | 138150 | 46033.575 | 92067.15 | 4384.15 | 80729 | 6954 | 146780 | 25 | 146780 | 80729 | 6954 | 4384.15 | 105877.2225 | 52938.6112 | 158850 | 25
30 | 164150 | 54714.975 | 109429.95 | 5210.95 | 95953 | 8266 | 174460 | 30 | 174460 | 95953 | 8266 | 5210.95 | 125844.4425 | 62922.2213 | 188800 | 30
40 | 221200 | 73723.9125 | 147447.825 | 7021.325 | 129288.5 | 11138 | 235070 | 40 | 235070 | 129288.5 | 11138 | 7021.325 | 169564.9987 | 84782.4994 | 254350 | 40
50 | 288100 | 96025.65 | 192051.3 | 9145.3 | 168399 | 14507 | 306180 | 50 | 306180 | 168399 | 14507 | 9145.3 | 220858.995 | 110429.4975 | 331300 | 50

## Blowers
Model | Sale Price | Margin | Net Landing | Transport | Octroi | CST | ED | Transit Insurance | Packing & Forwarding | Net Basic Price | Model | Model | Net Basic Price | Packing & Forwarding | Transit Insurance | ED | CST | Octroi | Transport | Net Landing | Margin | Sale Price | Model | Model | Net Basic Price | Packing & Forwarding | Transit Insurance | ED | CST | Octroi | Transport | Net Landing | Margin | Sale Price Scroll 1 | Net Basic Price | Packing & Forwarding | Transit Insurance | ED | CST | Octroi | Transport | Net Landing | Margin | Sale Price Scroll 2
FDA | [10 empty] | FDA | BDB | [10 empty] | BDB | KAT
180 | 9846.6363 | 3282.2121 | 6564.4242 | 856.2292 | 0 | 111.9254 | 615.6096 | 48.83 | 48.83 | 4883 | 180 | [10 empty] | 0 | [11 empty] | 0 | [9 empty] | 0
200 | 10463.6895 | 3487.8965 | 6975.793 | 909.886 | 0 | 118.9394 | 654.1876 | 51.89 | 51.89 | 5189 | 200 | 200 | 9678 | 96.78 | 96.78 | 1220.1248 | 221.8337 | 0 | 1697.0278 | 13050 | 6550 | 19600 | 200 | 07 / 07 | 2988 | 29.88 | 29.88 | 376.7031 | 68.4893 | 0 | 523.9429 | 4050 | 2050 | 6100 | 5767 | 57.67 | 57.67 | 727.0572 | 132.1879 | 0 | 1011.2378 | 7800 | 3900 | 11700
225 | 11110.9904 | 3703.6635 | 7407.3269 | 966.1731 | 0 | 126.2971 | 694.6567 | 55.1 | 55.1 | 5510 | 225 | 225 | 9767 | 97.67 | 97.67 | 1231.3452 | 223.8737 | 0 | 1712.6338 | 13150 | 6600 | 19750 | 225 | 08 / 08 | 3124 | 31.24 | 31.24 | 393.8489 | 71.6066 | 0 | 547.7903 | 4200 | 2100 | 6300 | 6051 | 60.51 | 60.51 | 762.8617 | 138.6976 | 0 | 1061.0369 | 8150 | 4100 | 12250
250 | 11258.1959 | 3752.732 | 7505.4639 | 978.9736 | 0 | 127.9704 | 703.86 | 55.83 | 55.83 | 5583 | 250 | 250 | 9883 | 98.83 | 98.83 | 1245.9696 | 226.5326 | 0 | 1732.9743 | 13300 | 6650 | 19950 | 250 | 09 / 07 | 3540 | 35.4 | 35.4 | 446.2949 | 81.1419 | 0 | 620.7355 | 4800 | 2400 | 7200 | 6797 | 67.97 | 67.97 | 856.9114 | 155.797 | 0 | 1191.8473 | 9150 | 4600 | 13750
280 | 13139.6032 | 4379.8677 | 8759.7354 | 1142.5742 | 0 | 149.3561 | 821.4852 | 65.16 | 65.16 | 6516 | 280 | 280 | 10554 | 105.54 | 105.54 | 1330.5639 | 241.9129 | 0 | 1850.6335 | 14200 | 7100 | 21300 | 280 | 09 / 09 | 3822 | 38.22 | 38.22 | 481.8472 | 87.6057 | 0 | 670.1839 | 5150 | 2600 | 7750 | 7256 | 72.56 | 72.56 | 914.7784 | 166.318 | 0 | 1272.3325 | 9800 | 4900 | 14700
315 | 14785.0783 | 4928.3594 | 9856.7189 | 1285.659 | 0 | 168.06 | 924.3599 | 73.32 | 73.32 | 7332 | 315 | 315 | 10860 | 108.6 | 108.6 | 1369.1419 | 248.9268 | 0 | 1904.2903 | 14600 | 7300 | 21900 | 315 | 10 / 08 | 3822 | 38.22 | 38.22 | 481.8472 | 87.6057 | 0 | 670.1839 | 5150 | 2600 | 7750 | 7445 | 74.45 | 74.45 | 938.606 | 170.6501 | 0 | 1305.4734 | 10050 | 5050 | 15100
355 | 17753.3865 | 5917.7955 | 11835.591 | 1543.7727 | 0 | 201.8004 | 1109.9379 | 88.04 | 88.04 | 8804 | 355 | 355 | 11632 | 116.32 | 116.32 | 1466.4695 | 266.6222 | 0 | 2039.6598 | 15650 | 7850 | 23500 | 355 | 10 / 10 | 3911 | 39.11 | 39.11 | 493.0676 | 89.6458 | 0 | 685.79 | 5300 | 2650 | 7950 | 7539 | 75.39 | 75.39 | 950.4568 | 172.8047 | 0 | 1321.9562 | 10150 | 5100 | 15250
400 | 20693.4634 | 6897.8211 | 13795.6423 | 1799.4316 | 0 | 235.2198 | 1293.7509 | 102.62 | 102.62 | 10262 | 400 | 400 | 13294 | 132.94 | 132.94 | 1676.0012 | 304.7176 | 0 | 2331.0898 | 17900 | 8950 | 26850 | 400 | 12 / 09 | 4935 | 49.35 | 49.35 | 622.1653 | 113.1173 | 0 | 865.3474 | 6650 | 3350 | 10000 | 9494 | 94.94 | 94.94 | 1196.9276 | 217.6162 | 0 | 1664.7636 | 12800 | 6400 | 19200
450 | 25426.221 | 8475.407 | 16950.814 | 2210.9757 | 0 | 289.0164 | 1589.6418 | 126.09 | 126.09 | 12609 | 450 | 450 | 17099 | 170.99 | 170.99 | 2155.7051 | 391.9337 | 0 | 2998.2928 | 23000 | 11500 | 34500 | 450 | 12 / 12 | 5212 | 52.12 | 52.12 | 657.0873 | 119.4665 | 0 | 913.9191 | 7050 | 3550 | 10600 | 9960 | 99.6 | 99.6 | 1255.6771 | 228.2975 | 0 | 1746.4762 | 13400 | 6700 | 20100
500 | 32715.918 | 10905.306 | 21810.612 | 2844.8624 | 0 | 371.8774 | 2045.3921 | 162.24 | 162.24 | 16224 | 500 | 500 | 20668 | 206.68 | 206.68 | 2605.6561 | 473.7403 | 0 | 3624.1135 | 27800 | 13900 | 41700 | 500 | 15 / 11 | 6054 | 60.54 | 60.54 | 763.2399 | 138.7664 | 0 | 1061.5629 | 8150 | 4100 | 12250 | 11632 | 116.32 | 116.32 | 1466.4695 | 266.6222 | 0 | 2039.6598 | 15650 | 7850 | 23500
560 | 39662.8077 | 13220.9359 | 26441.8718 | 3448.9398 | 0 | 450.8418 | 2479.7102 | 196.69 | 196.69 | 19669 | 560 | 560 | 25204 | 252.04 | 252.04 | 3177.5187 | 577.712 | 0 | 4419.4966 | 33900 | 16950 | 50850 | 560 | 15 / 15 | 6237 | 62.37 | 62.37 | 786.3111 | 142.961 | 0 | 1093.6518 | 8400 | 4200 | 12600 | 12609 | 126.09 | 126.09 | 1589.6418 | 289.0164 | 0 | 2210.9757 | 17000 | 8500 | 25500
630 | 52792.3282 | 17597.4427 | 35194.8855 | 4590.6372 | 0 | 600.0833 | 3300.565 | 261.8 | 261.8 | 26180 | 630 | 630 | 32536 | 325.36 | 325.36 | 4101.8786 | 745.772 | 0 | 5705.1556 | 43750 | 21900 | 65650 | 630 | 18 / 13 | 7456 | 74.56 | 74.56 | 939.9928 | 170.9023 | 0 | 1307.4023 | 10050 | 5050 | 15100 | 15324 | 153.24 | 153.24 | 1931.9273 | 351.2481 | 0 | 2687.0483 | 20650 | 10350 | 31000
710 | 65403.6048 | 21801.2016 | 43602.4032 | 5687.27 | 0 | 743.434 | 4089.0192 | 324.34 | 324.34 | 32434 | 710 | 710 | 43075 | 430.75 | 430.75 | 5430.5514 | 987.341 | 0 | 7553.1589 | 57950 | 29000 | 86950 | 710 | 18 / 18 | 8132 | 81.32 | 81.32 | 1025.2175 | 186.3972 | 0 | 1425.9382 | 10950 | 5500 | 16450 | 16594 | 165.94 | 165.94 | 2092.0388 | 380.3584 | 0 | 2909.7416 | 22350 | 11200 | 33550
800 | 110847.7572 | 36949.2524 | 73898.5048 | 9638.9354 | 0 | 1259.9916 | 6930.1778 | 549.7 | 549.7 | 54970 | 800 | 800 | 66165 | 661.65 | 661.65 | 8341.5539 | 1516.5971 | 0 | 11601.9676 | 88950 | 44500 | 133450 | 800 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
900 | 144092.0018 | 48030.6673 | 96061.3345 | 12529.7393 | 0 | 1637.8744 | 9008.6008 | 714.56 | 714.56 | 71456 | 900 | 900 | 84809 | 848.09 | 848.09 | 10692.0402 | 1943.9444 | 0 | 14871.1747 | 114050 | 57050 | 171100 | 900 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1000 | 176749.4409 | 58916.4803 | 117832.9606 | 15369.5166 | 0 | 2009.0871 | 11050.3369 | 876.51 | 876.51 | 87651 | 1000 | 1000 | 98935 | 989.35 | 989.35 | 12472.9333 | 2267.7327 | 0 | 17348.1549 | 133050 | 66550 | 199600 | 1000 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1120 | 158475 | 1584.75 | 1584.75 | 19979.2602 | 3632.4752 | 0 | 27788.4353 | 213050 | 106550 | 319600 | 1120 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1200 | 218065 | 2180.65 | 2180.65 | 27491.8907 | 4998.3638 | 0 | 38237.4832 | 293200 | 146600 | 439800 | 1200 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1450 | 255315 | 2553.15 | 2553.15 | 32188.0727 | 5852.1875 | 0 | 44769.234 | 343250 | 171650 | 514900 | 1450 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0